Vaccine Storage Audit

Audit procedure - Work through each of the questions below and tick box, yes or no as appropriate. - If you have ticked all white boxes then the audit is complete and no further action is needed. - If you have ticked any boxes that are shaded grey it means that you are not following national cold chain guidance and action must be taken in order to be compliant. - Set a time scale to address the action and then perform the audit again. - This tool should be used in conjunction with ‘Immunisation against Infectious Diseases’, (aka The Green Book), ‘Chapter 3, Storage, distribution and disposal of vaccines and the DH Protocol for ordering, storing and handling vaccines’. - A record of this audit should be kept. Audits should be completed annually unless issues identified require earlier repeat audits.

| Policy & Procedures |  |  |
| --- | --- | --- |
| 1. Does the practice have an up-to-date cold chain policy (reviewed within the last two years) that is accessible to all staff? | YES | NO |
| 2. Have all staff handling vaccines, from receipt to administration, been trained to follow policies to ensure cold chain compliance? | YES | NO |
| 3. Are there at least two trained people responsible for the ordering, receipt and care of vaccines? | YES | NO |
| Ordering and monitoring of stock |  |  |
| 4. Are vaccine stocks monitored prior to ordering? | YES | NO |
| 5. Is there more than two to four weeks supply of vaccine in the refrigerator? (excluding influenza vaccine) | YES | NO |
| 6. Are vaccine stocks audited weekly and records of vaccine stock audited (at least) monthly? | YES | NO |
| 7. Are stock and temperature management records audited every 3 months? | YES | NO |
| 8. Are the expiry dates of vaccines monitored and any stock close to expiry date clearly labelled? | YES | NO |
| 9. Is out-of-date stock clearly labelled, removed from the refrigerator and destroyed promptly and reported on ImmForm? | YES | NO |

| Receipt of vaccines |  |  |
| --- | --- | --- |
| 10. Are vaccines checked against the order for discrepancies and leakage or damage before signing for them? | YES | NO |
| 11. Is there a procedure for recording the date and time at which vaccine types, brands, quantities, batch numbers and expiry dates were received? | YES | NO |
| 12. Are vaccines refrigerated immediately on receipt? | YES | NO |
| Vaccine refrigerator(s) (if several fridges are used only tick if it applies to all) |  |  |
| 13. Is the refrigerator specialised for the storage of pharmaceutical products? | YES | NO |
| 14. Is there adequate fridge space within the practice to correctly store the volume of vaccines required, including during times of increased demand, e.g. annual influenza programme? Please remember some vaccine boxes are larger than others. | YES | NO |
| 15. Is anything other than vaccines stored in the refrigerator (including specimens, food & drink)? | YES | NO |
| 16. Is the refrigerator either both lockable and locked, or is it in a locked room? | YES | NO |
| 17. Is the refrigerator properly ventilated and not located near any heat source, e.g. radiator, window? | YES | NO |
| 18. Is the electricity supply safe, e.g. switchless plugs or cautionary notices in place to prevent accidental unplugging? | YES | NO |
| 19. Are there arrangements in place in the event of a refrigerator failure or power cut including back up facilities? | YES | NO |
| 20. Are there records of regular servicing, defrosting and cleaning as per manufacturers recommendations? | YES | NO |
| 21. Is there an approved cool box with appropriate temperature monitoring or alternative refrigerator available to store vaccines during servicing, defrosting and cleaning? | YES | NO |
| 22. Are vaccines stored in the door, bottom drawers or adjacent to the freezer plate? | YES | NO |
| Refrigerator thermometers |  |  |
| 23. Is the temperature continually monitored with a maximum– minimum thermometer? | YES | NO |
| 24. Are there data loggers in every vaccine fridge and are these data loggers downloaded and reset at least weekly? | YES | NO |
| 25. Are the minimum, maximum and actual temperatures in the refrigerator monitored and recorded at least once each working day and acted upon if necessary? | YES | NO |
| 26. Are thermometers reset after being read, according to the manufacturer’s guidance? | YES | NO |
| 27. Are temperature records readily accessible and retained until the next audit? | YES | NO |
| 28. Are thermometers calibrated and serviced annually? | YES | NO |
| Storage of vaccines |  |  |
| 29. Are there systems to minimise refrigerator door opening during immunisation clinics? | YES | NO |
| 30. Are vaccines ever left at room temperature during immunisation clinics? | YES | NO |
| 31. If you need to transport vaccines to outlying clinics, schools etc. do you use validated cool boxes with maximum-minimum thermometers and ice packs? (only complete if applicable) | YES | NO |

Audit completed by

Name:

Practice:

Date of completion:

If any grey boxes are ticked, date when audit will be reviewed: