## Incident SEA Form
South West Immunisation Clinical Advice and Response Service (ICARS)
|  | Return your completed form to: | england.swicars@nhs.net
* Mandatory field
Immunisation Incident Significant Event Analysis (SEA) v.10
Organisation/Practice Name: * |  |  | ICB Area: *
Name of Incident Lead: * |  |  | Lead's Telephone: *
Lead's Role: * |  |  | Lead's E-mail: *
Name of Reporter (if different): |  |  | Reporter's Telephone:
Reporter's Role: |  |  | Reporter's E-mail:
Date of Incident: * |  |  | Time of Incident (if known):
Location of Incident: |  |  | Type of Incident: *
Any other incidents reported to ICARS in the last 6 months?
Description of Incident: * Please do not include any personal identifiable data (PID)
Please complete the 'type of incident' field above before continuing
Question |  | Answer Please do not include any personal identifiable data (PID)

## Vaccines
Quarantined vaccines: | please complete the table below as fully as possible
Discarded / expired vaccines: | please only complete the expiry dates, batch number and quantity
Please make sure that you also complete the main 'Incident SEA Form' tab: Click here
Select Vaccine Below: | Manufacturer | Expiry date | Batch Number(s) | Formulation | Quantity | Location in fridge | Which fridge? (If multiple fridges involved) | Reason the vaccine was obtained | Vaccine involved in previous cold chain incident?
Click here to return to the main incident form

## INTERNAL USE (hidden)
Min Temp
Max Temp |  |  | FOR ICARS INTERNAL USE ONLY
Duration
Vaccine | Expiry date | Batch Number(s) | Formulation | Quantity | Location in fridge | Which fridge? | Reason obtained | Previous cold chain incident? | Stability response | Manufacturer contacted?
Click here to return to the main incident form

## Pick Lists (hidden)
ICB | Type of Incident | Type of Error | Formulation | Reason obtained |  | Stability response | Vaccines | Manufacturer
BNSSG | Vaccine administration error | Duplicate vaccine given | Solution pre-filled syringe | National imms programme | Yes | Use on-label | Abrysvo, RSV | Pfizer
BSW | Vaccine expiry | Given outside eligible cohort | Suspension pre-filled syringe | Private imms | No | Use off-label | ADACEL, Pertussis | Sanofi
Cornwall & IOS | Cold chain - vaccines discarded | Given too early | Suspension vial |  |  | Discard | BCG, Tuberculosis | AJ Vaccines
Devon | Cold chain - vaccines quarantined | Incorrect gap between doses | Solution vial & emulsion vial |  |  |  | Bexsero, MenB | GSK
Dorset | Other | Incorrect vaccine given | Powder vial & solution vial |  |  |  | Boostrix-IPV, dTaP/IPV | GSK
Gloucestershire |  | Incorrectly mixed/reconstituted | Powder vial & solvent vial |  |  |  | Comirnaty JN.1, 10mcg | Pfizer
Somerset |  | Partial/wrong dose given | Powder vial & solution syringe |  |  |  | Comirnaty JN.1, 30mcg | Pfizer
Other/Regional |  | Vaccine reaction | Powder vial & solvent syringe |  |  |  | Comirnaty JN.1, 3 (THREE) mcg | Pfizer
|  | Wrong site of injection | Oral suspension pre-filled applicator |  |  |  | Engerix, HepB | GSK
|  |  | Oral suspension tube |  |  |  | Flu: Seqirus adjuvanted quadrivalent (aQIV) | Seqirus
|  |  | Nasal suspension pre-filled applicator |  |  |  | Flu: Seqirus cell-based quadravalent (QIVc) | Seqirus
|  |  | Dispersion vial |  |  |  | Flu: Fluenz LAIV | AstraZeneca
|  |  | Concentrate for dispersion |  |  |  | Flu: Tetra MYL quadravalent egg-grown (QIVe) | Viatris
[7 empty] | Flu: Sanofi quadravalent egg-grown (QIVe) | Sanofi
[7 empty] | Flu: Sanofi quadravalent high dose egg-grown (QIVe-HD) | Sanofi
[7 empty] | Gardasil 9, HPV | MSD
[7 empty] | HBVaxPro, HepB | MSD
[7 empty] | Infanrix Hexa, DTaP/IPV/Hib/HepB | GSK
[7 empty] | Menitorix, Hib/MenC | GSK
[7 empty] | MenQuadfi, MenACWY | Sanofi
[7 empty] | Menveo, MenACWY | GSK
[7 empty] | MMRvaxPro, MMR | MSD
[7 empty] | Nimenrix, MenACWY | Pfizer
[7 empty] | Pneumovax 23, PPV | MSD
[7 empty] | Prevenar 13, PCV | Pfizer
[7 empty] | Priorix, MMR | GSK
[7 empty] | Repevax, Pertussis | Sanofi
[7 empty] | Revaxis, Td/IPV | Sanofi
[7 empty] | Rotarix, Rotavirus | GSK
[7 empty] | Shingrix, Shingles | GSK
[7 empty] | Spikevax JN.1 | Moderna
[7 empty] | Vaxelis, DTaP/IPV/Hib/HepB | Sanofi
[7 empty] | Vaxneuvance, PCV | MSD
[7 empty] | Zostavax, Shingles | MSD

## Incident Specific Qs (hidden)
Vaccine administration error | Vaccine expiry | Cold chain - vaccines quarantined | Cold chain - vaccines discarded | Other
How many patients were involved in this incident? | How many patients were administered with expired vaccine, if any? (If expired vaccines were given, please complete the 'Vaccines' tab of this form) | Has anybody been vaccinated with potentially affected vaccines? If so, how many and which vaccine(s)? | Has anybody been vaccinated with potentially affected vaccines? If so, how many and which vaccine(s)? | How many patients were involved in this incident?
Which vaccine(s) were administered/involved in this incident? | Please describe the root cause(s) of the incident | Date and time of the last guaranteed storage between +2⁰C to +8⁰C | Why were the vaccines discarded? (e.g. Manufacturer advice, practice decision without advice, etc.) | Please describe the root cause(s) of the incident
Please describe the root cause(s) of the incident | What immediate action was taken? | Date and time the cold chain breach identified | Have the discarded vaccines been reported on ImmForm? | What immediate action was taken?
What immediate action was taken? | If expired vaccines were administered, please detail any duty of candour that was carried out | Date and time the vaccines were returned to being stored at +2⁰C to +8⁰C | Please describe the root cause(s) of the incident | If required, please detail any duty of candour that was carried out
Please detail any duty of candour that was carried out | If expired vaccines were administered, please confirm whether a clinical risk assessment has been carried out for each patient affected | Total duration of the temperature excursion (hours/minutes). PLEASE SEND A COPY OF YOUR DATA LOGGER READINGS WITH THIS FORM. | What immediate action was taken? | If required, please confirm whether a clinical risk assessment has been carried out for each patient affected
Please confirm whether a clinical risk assessment has been carried out for each patient affected | What corrective action was/will be taken? | What were the temperature readings when the breach was identified (Max and min)? | If any of the affected vaccines were administered, please detail any duty of candour that was carried out | What corrective action was/will be taken?
What corrective action was/will be taken? | Describe the learning that has taken place from this incident | Result of 48 hours continuous temperature monitoring with a data logger | If any of the affected vaccines were administered, please confirm whether a clinical risk assessment has been carried out for each patient affected | Describe the learning that has taken place from this incident
Describe the learning that has taken place from this incident | What learning needs have been identified for the vaccinator? | Have any of the vaccines previously been exposed to temperatures outside 2⁰C to 8⁰C? (if so, please indicate this on the 'vaccines' tab) | What corrective action was/will be taken? | If relevant, what learning needs have been identified for the vaccinator?
What learning needs have been identified for the vaccinator? | Please describe any actions taken to prevent this incident from happening again | Please describe the root cause for the temperature excursion? (e.g. restocking the fridge, busy clinic, power failure) | Describe the learning that has taken place from this incident | Please describe any actions taken to prevent this incident from happening again
Please describe any actions taken to prevent this incident from happening again | Any other comments? | Has the cause of the breach been rectified and/or steps taken to prevent the problem recurring? | Please describe any actions taken to prevent this incident from happening again | Any other comments?
Any other comments? |  | Describe the learning that has taken place from this incident | Any other comments?
What alerted you to the cold chain breach/storage event? (e.g. Thermometer out of range, fridge alarming, data logger)
Is there an alarm fitted on the fridge and if so what parameters are set? How long after going out of the +2⁰C to +8⁰C temperature range does the alarm sound? Did anyone hear it?
Are there any obvious signs of freezing? (e.g. frosting on sides or back of the fridge, wet or damaged vaccine boxes)
Are any vaccines placed against the sides or back of the fridge, or in the fridge door, or been pushed up against the cooling plate or cold air inlet?
What type of fridge is it? (Domestic or pharmaceutical)
How old is the fridge?
When was the fridge last serviced? (Insert date)
If relevant, has an engineer checked the fridge since the incident? If so, what did their report say?
How often are fridge temperatures recorded?
What type of thermometer is in use? (e.g. Integral to fridge, battery operated independent thermometer, data logger)
If there is a temperature probe in the fridge, where is it positioned?
When was the thermometer last reset and when was it last recalibrated?
Any other comments?